SPCC Annual Tank Assessment Form

| Area: |  | Date: |  |
| --- | --- | --- | --- |

| Inspector Name (Signature) |  | Supervisor Name (Signature) |
| --- | --- | --- |

| Tanks |  |  |
| --- | --- | --- |
|  | Yes/No | Comment |
| Signs of leakage | Yes No |  |
| Tank condition ok | Yes No |  |
| Foundation condition ok | Yes No |  |
| Gauges/alarms working properly | Yes No |  |

| Containment Area |  |  |
| --- | --- | --- |
|  | Yes/No | Comment |
| Signs of oil in containment area | Yes No |  |
| Cracks in containment | Yes No |  |
| Drainage valves/openings closed | Yes No |  |

| Transfer Operations |  |  |
| --- | --- | --- |
|  | Yes/No | Comment |
| Signs of leakage from pipes, valves, flanges | Yes No |  |
| Pipeline condition ok | Yes No |  |
| Out-of-service pipes capped | Yes No |  |

| Truck Loading and Unloading Areas |  |  |
| --- | --- | --- |
|  | Yes/No | Comment |
| Signs of leaks/spills | Yes No |  |
| Warning signs posted or wheel chocks used | Yes No |  |

| Security |  |  |
| --- | --- | --- |
|  | Yes/No | Comment |
| Lighting functioning properly | Yes No |  |
| Fences and gates intact | Yes No |  |
| Gates locked when facility is unattended | Yes No |  |

For instructions, refer to Appendix D.1 in your SPCC Plan.

NDOT Form 160, August 17