SPCC Monthly Tank Assessment Form

Copy this sheet as needed.

| Date | Tank Description | Initials | Comments |
| --- | --- | --- | --- |

For instructions, refer to Appendix D.1 in your SPCC Plan.

Use one line for each tank inspected.

Initial the form after thoroughly checking the following:

Tanks:

Signs of leakage; Tank condition; Foundation condition; Gauges/alarms working properly

Containment Area:

Signs of oil in containment area; Cracks in containment; Drainage valves/openings closed

Transfer Operations:

Signs of leakage from pipes, valves, flanges; Pipeline condition; Out-of-service pipes capped

Truck Loading and Unloading Areas:

Signs of leaks/spills – Warning signs posted or wheel chocks used.

NDOT Form 197, August 17